2021 WATER QUALITY REPORT

# FOR

## BAYARD WATER SUPPLY

This report contains important information regarding the water quality in our water system. The source of our water is groundwater. Our water quality testing shows the following results:

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CONTAMINANT  | MCL - (MCLG) | Compliance | Date | Violation | Source |
|  |  | Type | Value & (Range) |  | Yes/No |  |
| Total Trihalomethanes | 80 (N/A) | LRAA | 52.00 (52 - 52) | 09/30/2021 | No | By-products of drinking water chlorination |
| Total Haloacetic Acidsb) HAAS | 60 (N/A) | LRAA | 23.00 (23 -23) | 09/30/2021 | No | By-products of drinking water disinfection |
| Lead (ppb) | AL-15 (0) | 90th | ND | 2020 | No | Corrosion of household plumbing systems; erosion of natural d osits |
| Copper (ppm) | AL=1.3 (1.3) | 90th | 0.52 (0.0159 -0.605) | 2020 | No | Corrosion of household plumbing systems; Erosion of natural deposits; Leaching from wood reservatives |
| 950 - DISTRIBUTION SYSTEM |  |  |  |
| Chlorine (ppm) | MRDL=4.OMRDLG=4.O |  | 2.3 (ND - 3.3) | 09/3012021 | No | Water additive used to control microbes |
| 02 - WELLS I & 3/FINlSHED WATER LEAVING PLANT |  |  |  |
| Gross Alpha, inc ( Ci/L) | 15 (0) | SGL | 10.7 | 01/25/2021 | No | Erosion of natural deposits |
| Combined Radium ( Ci/L | 5 (0) | SGI, |  | 12/08/2020 | No | Erosion of natural deposits |
| Sodium (ppm) | N/A (N/A) | SGL | 107 | 01/25/2021 | No | Erosion ofnatural deposits; Added to water durin treatment rocess |
| Nitrate [as N] (ppm) | 10 (10) | SGI- | 1.000 | 2021 | No | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural de osits |

Note: Contaminants with dates indicate results from the most recent testing done in accordance with regulations.

DEFINITIONS

* Maximum Contaminant Level (MCL) — The highest level of a contaminant that is allowed in drinking water. MCL.s are set as close to the MCLGs as feasible using the best available treatment technology.
* Maximum Contaminant Level Goal (MCLG) -- The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.  ppb -- parts per billion.  ppm parts per million.  pCi/L — picocuries per liter  N/A — Not applicable
* ND -- Not detected
* RAA — Running Annual Average
* Treatment Technique (YD — A required process intended to reduce the level of a contaminant in drinking water.
* Action Level (AL) — The concentration of a contaminant which, if exceeded, triggers treatment or Other requirements which a water system must follow.
* Maximum Residual Disinfectant Level Goal (MRDLG) - The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits Ofthe use of disinfectants to control microbial

contaminants.

March 02, 2022 CCR 2021 BAYARD WATER SUPPLY PWSID: 3907092 Page 1 Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

SGL — Single Sample Result

RTCR Revised Total Coliform Rule

NTU — Nephelometric Turbidity Units

GENERAL INFORMATION

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water posed a health risk. More information about contaminants or potential health effects can be obtained by calling the Environmental Protection Agency's Safe Drinking Water Hotline (800-4264791).

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health probiems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. BAYARD WATER SUPPLY is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

OTHER VIOLATIONS

In September 2021 we failed to monitor for Manganese. Adverse health effects, if any, are not known. Monitoring procedures have been corrected to avoid future violations.

SOURCE W ATER ASSESSMENT INFORMATION

This water supply obtains its water from the sandstone of the Pennsylvanian aquifer. The Pennsylvanian aquifer was determined to have low susceptibility to contamination because the characteristics of the aquifer and overlying materials provide natural protection from contaminants at the land surface. The Pennsylvanian wells will have low susceptibility to surface contaminants such as leaking underground storage tanks, contaminant spills, and excess fertilizer application. A detailed evaluation of your source water was completed by the Iowa Department of Natural Resources, and is available from the Water Operator at 712-651-2484

CONTACT INFORMATION

For questions regarding this information or how you can get involved in decisions regarding the water system, pleaseGontact BAYARD WATER SUPPLY at 712-651-2484.